# Chef Warden Checklist

Issues:

The Evacuation tone switch is a spring toggle switch and cannot be switched to ON for the duration of the evacuation.

|  |  |  |  |
| --- | --- | --- | --- |
| Event | Start Time | End Time | Complete |
| Emergency Declared |  |  |  |
| Emergency Services Contacted by phone |  |  |  |
| Sectrol alerted call 8888 |  |  |  |
| Announce to campusTest or real evacuation |  |  |  |
| Alert tones played |  |  |  |
| PA Announcement made to the campus |  |  |  |
| Contact made to each building area to be evacuated |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
| All area wardens present |  |  |  |
| Replacement wardens nominated and in place |  |  |  |
| Evacuation commenced |  |  |  |
| Evacuation Tones turned on |  |  |  |
| Evacuation Completed |  |  |  |
| All Clear given to all wardens  |  |  |  |
| All Clear acknowledged by all wardens |  |  |  |
| Evacuation Tones Turned OFF |  |  |  |
| Sectrol alerted end of drill call 8888 |  |  |  |
|  |  |  |  |